
 Oregon Joint Use Association

Standards Committee

Meeting Minutes

March 9, 2010
The meeting was called to order at 2:04 p.m.   
Present






Tamara Johnson, Chair, Springfield PUD

Corey Cook, PacifiCorp

Stan Cowles, Qwest

Jim McGuire, PGE

Scott Jennings, Verizon

Scott Wheeler, Comcast

OJUA Staff

Genoa Ingram

Not Present 

Dave Chaney, Accent Inc.
Jim Corwin, Verizon
Jim Flu, PacifiCorp 

Bill Kraxberger, PGE

Rob Kolosvary, PGE 

Jeff Liberty, Bend Broadband
Gary Payne, Qwest

Gary Putnam, OPUC
Mark Simonson, Utility Consultants 

John Wallace, OPUC
Approval of Minutes

The minutes of February 17, 2010 meeting were approved as presented.    
Field Reference Cards
The Committee reviewed the Field Reference Card work product and offered suggested changes including:

· Replacement of the climbing space illustration with a clearer version (provided by John Wallace); 

· Add NESC code references to each section;

· Above the box marked “Pedestrian Surface”, the measurements should both be 9.5 (currently they are 9.5 and 12.5) 

· Above the box marked “Residential Driveways with limited building heights”, the arrow designated as 12.5 should be 12.0;

Chair Johnson will attend the March 18 Board meeting and present the Brochure for comment.

Next Meeting  

The next meeting of the OJUA Standards Committee was scheduled for May 19, 10:00 a.m. at the Salem office.

Adjourn

There was no further business and the meeting was adjourned at 3:27 p.m.

OJUA Standards Committee

Minutes of March 9, 2010 Meeting

Page 1

