###### Oregon Joint Use Association

Standards Committee

Meeting Minutes

March 9, 2010

The meeting was called to order at 2:04 p.m.

## Present

Tamara Johnson, Chair, Springfield PUD

Corey Cook, PacifiCorp

Stan Cowles, Qwest

Jim McGuire, PGE

Scott Jennings, Verizon

Scott Wheeler, Comcast

##### OJUA Staff

Genoa Ingram

Not Present

Dave Chaney, Accent Inc.

Jim Corwin, Verizon

Jim Flu, PacifiCorp

Bill Kraxberger, PGE

Rob Kolosvary, PGE

##### Jeff Liberty, Bend Broadband

Gary Payne, Qwest

Gary Putnam, OPUC

Mark Simonson, Utility Consultants

John Wallace, OPUC

Approval of Minutes

The minutes of February 17, 2010 meeting were approved as presented.

Field Reference Cards

The Committee reviewed the Field Reference Card work product and offered suggested changes including:

- Replacement of the climbing space illustration with a clearer version (provided by John Wallace);

- Add NESC code references to each section;

- Above the box marked “Pedestrian Surface”, the measurements should both be 9.5 (currently they are 9.5 and 12.5)

- Above the box marked “Residential Driveways with limited building heights”, the arrow designated as 12.5 should be 12.0;

Chair Johnson will attend the March 18 Board meeting and present the Brochure for comment.

Next Meeting

The next meeting of the OJUA Standards Committee was scheduled for May 19, 10:00 a.m. at the Salem office.

Adjourn

There was no further business and the meeting was adjourned at 3:27 p.m.