###### Oregon Joint Use Association

Standards Committee

Meeting Minutes

August 12, 2009

The meeting was called to order at 8:41 am.

## Members Present

Tamara Johnson (Chair), Springfield Utility Board

Scott Wheeler, Comcast

Scott Jennings, Verizon

Stuart Sloan, Consumers Cooperative

##### OJUA Staff

Genoa Ingram

Mary Tucker

Members Not Present

Dave Chaney, Accent Inc.

Jim Corwin, Verizon

Stan Cowles, Qwest

Jim Flu, PacifiCorp

Jim McGuire, PGE

Gary Payne, Qwest

Gary Putnam, PUC Staff

Rob Kolosvary, PGE

Mark Simonson, Utility Consultants

Gary Lee, Charter

John Wallace, PUC Staff

Chair Johnson asked staff to poll potential Committee members to see what day is most convenient.

Approval of Minutes

The minutes of the July 8, 2009 meeting were approved as amended.

Mapping Update

Chair Johnson suggested that Dave Chaney provide an update.  The Committee discussed keeping a more focused format and not having all issues discussed at each meeting, but having specific dates for each issue.

Construction Practices

Chair Johnson assumed this issue had been completed and no longer needed to be on the agenda. She suggested it be reviewed it annually, in January before Spring Training.

Standardization of Pole Attachment Application Form

Chair Johnson suggested the reference card be completed first before hammering out this issue. Standardization of forms was identified as potentially the next big issue the committee undertakes.

Loose Wires

The Committee believes this issue is completed and is ready to be submitted to the Executive Board for their approval. (EXHIBIT A)  Chair Johnson will attend the Executive Committee meeting today.

Accuracy Rate

The Committee agreed that no additional amendments were needed.  (EXHIBIT B)  This document can also be presented to Executive Committee.

Scott Wheeler Comcast brought up the issue of anchors and expressed that if a company does not provide any standards on anchors, then anchor issues cannot be described as a discrepancy. There was discussion as to whether this needed to be explicitly laid out in Administrative Rules.  Committee members decided that it did not.

Grandfathering

Deferred.

Climbing Space

The Committee discussed the status of request from IEEE regarding boxing the pole, including whether rotation was allowed.  Some pole owners are writing violations for rotation of climbing space.  It was noted that the PUC has made a determination and if another entity wants IEEE to make an interpretation, then it will have to be submitted.  However, it does not appear that the Standards Committee needs to play a role.

Future Meetings

Chair Johnson instructed staff to remove loose wires and accuracy rates from future agendas. .

Staff was instructed to obtain field reference cards from Qwest and Comcast. The next several meetings will be devoted to work sessions on reference cards (using Qwest, Comcast, Verizon and PP&L).  The goal is to produce a pocket size, medium and large double sided reference card.   The task of the Committee will be to prioritize what information will go on each card.

Scott Wheeler offered that the best criteria would be to identify where most of the violations were coming from and that would dictate the priorities. The final product must accommodate the needs of the personnel who will be using it.

Adjourn

There being no further business, the meeting was adjourned at 9:55 a.m.

EXHIBIT A

Review & Recommendations for Cables Attached Directly to Poles

As operators of electric supply facilities and communication facilities conduct detailed inspections of their overhead facilities to identify violations of the Commission Safety Rules, many inspectors have a different perspective of what constitutes a “loose wire”.  These loose wires are typically communication service drops rising up a pole, but can also apply to such conductors as vertical grounds, secondary feeds from attachment points down into weatherheads, etc.

History/grandfathering of attachments as stated in the NESC Rules:

1993 NESC: 239A1 Grounding conductors, neutral conductors meeting Rule 230E1, supply cables meeting 230C1, or conduits may be placed directly on the support.

1997 NESC: 239A1 (added the language in BOLD) Grounding conductors, surge-protection wires, neutral conductors meeting Rule 230E1, insulated communications conductors and cables, supply cables meeting 230C1, insulated supply cables of 0-750 V or conduits may be placed directly on the support. These conductors, wires, cables and conduits shall be securely attached to the surface of the structure. Cables not in conduit shall be installed in such a manner as to avoid abrasion at point of attachment.

2002  NESC: 239A1 (same as 1997 – no changes or additions)

2007  NESC: 239A1 (same as 1997 – no changes or additions)

(Allan L. Clapp, P.E., NESC Hnadbook, 5th Edition)

(This rule was created 1990; former Rule 239A was moved to Rule 239B.)

A new Rule 239A was added to place the former EXCEPTIONS to Rule 239 in positive terms and increase the understandability of the intention of the requirements. The 1997 revision added surge protection wires, insulated communications conductors and cables, and insulated supply cables of 0-750 V to the list of items allowed to be directly attached to the structure. Conduits enclosing conductors (or empty) may also be mounted on the structure.

Oregon PUC Safety Staff Comments in a letter to the Committee dated September 17, 2008.

Issue:  Loose wire

At a recent meeting of the Standards Subcommittee, OPUC Staff members Gary Putnam and John Wallace were tasked with developing a recommendation for resolving the loose wire issue.  The issue is a continuing matter of controversy within the utility industry during system inspections.  Staff, during program review inspections, has also observed the lack of a standard method of attachment.  Examples of the various types of attachments cited by Staff include:  taping or stay-strapping vertical conductors to existing conduits, taping or stay-strapping conductors directly to poles, vertical conductors pulled up within existing conduit standoff brackets but not directly attached to anything.  For the sake of brevity, this is only a partial list, for there are many more examples possible.  The intent is to demonstrate that the industry has strayed from any semblance of a standard practice for attaching unprotected vertical conductors to poles.

Upon searching the NESC for likely comparisons, the only example that could be found (of unprotected vertical conductors not in conduit) is of vertical ground wires attached directly to the surface of poles.  Staff found that the general industry standard is to attach those pole ground conductors by stapling every 18”-24”.

Staff also studied current and previous editions of construction standards of various utilities, particularly communications utilities.  Although finding various references to the issue, the clearest example is shown in the attached document, taken from a 1989 issue of the US West Placing manual.  As can be seen in the example, the pole ground is stapled to the pole at regular intervals and the vertical communications conductor is similarly attached.

After studying this issue, we believe that the Subcommittee should recommend that all utilities adopt this method of attaching unprotected vertical conductors directly to the surface of poles.  Specifically, that vertical conductors be attached at regular intervals not more than 24” apart.  Additionally, that all such attachments should be placed in the same quarter of the pole, when possible.

Discussion: Is the Bell drawing supported in the Construction Practices book? Do we as a committee make additional comments?

EXHIBIT B

Discussion of “Accuracy” relating to Notices of Violations

Relevant Oregon Administrative Rules:

860-028-0115   *Duties of Structure Owners* (6)  An owner must ensure the accuracy of inspection data prior to transmitting information to the pole occupant.

860-028-0170  *Plans of Correction* (1)  A plan of correction must, at a minimum, set out:

(a) Any disagreement, as well as the facts on which it is based, that the pole occupant has with respect to the violations alleged by the pole owner in the notice;

Discrepancies of Data contained in Notice of Violation

- Notified entity is not located on the pole (nor required to attach)

- Stated violation does not exist

- Mis-identified facility in violation (e.g., TV drop is cut and hanging, not telephone)

- Code not properly applied to attachment (e.g., exceptions for communication drops over driveways attached to highest point of house only need 11’6”, not 15’ 6”)

- Pole cannot be located with information provided

Other discrepancies, which often require a pole inspection and response, but would not be considered an issue of “accuracy”:

- Another entity created the violation (disputed)

- Citing party does not own the pole

- Grandfathered attachments

- Communications spacing agreements (less than 12” separation at the pole, yet the parties have an agreement, which by code, is not a violation)

- Facilities on the pole have been modified since the inspection data was transmitted, and therefore a violation on Notice may not exist

October 14, 2008