###### Oregon Joint Use Association

Standards Committee

Meeting Minutes

November 17, 2010

Acting chair Scott Wheeler called the meeting to order at 10:10 a.m.

## Present

David Barks, McMinnville Water & Light

Corey Cook, Pacific Power

Mark Simonson, UC Synergetic

Scott Jennings, Frontier

Scott Wheeler, Comcast – acting Chair

Dan McGraw, Qwest

Gary Payne, Qwest

Tom McGowan, Century Link*

Dan Wittmer, Emerald PUC

Dave Chaney, Accent

Jim McGuire, PGE

##### OJUA Staff

Mary Tucker

Approval of Minutes

The minutes of September 15, 2010 meeting were approved as amended.

NJUNS Webinar

Schedule a demonstration of NJUNS for next meeting, have Tami here as well. Printouts of beta testing need to be distributed.

Discussion of Chair

Scott Wheeler and Corey Cook suggested Gary Lee be approached to be Chair.

Old Business

NJUNS: Dave Chaney will contact Roy Beavers to give a demonstration at the next committee meeting. Gary Payne will contact Tami K to discuss Oregon specifics. Roy will give a presentation of the current version and the pilot version to show the differences, to show the new direction NJUNS is taking. NJUNS pilot will be completed by the end of the year. Product will be distributed next year.

The Committee reviewed committee priorities:

- Grandfathering

- Mapping updates

- Boxing the pole/climbing space

- Pole attachment application.

Committee members want to see the NJUNS demonstration first before proceeding with the pole attachment applications.

Staff needs to send out a reminder to organizations that have not sent in any mapping information.  Dave Chaney will get out information on who had not sent in mapping information.

Grandfathering: David Barks mentioned a new resource from PGE that had helped them to grandfather some of their attachments in. The resource was based upon previous work the Standards committee performed on this subject.

PacifiCorp is not grandfathering in any communications companies when they perform inspections. But if the industry could agree on how to grandfather, that problem would be solved. Jim McGuire noted that the code under which it is grandfathered would need to be noted. Gary Payne wondered if that level of detail was needed. Corey Cook explained that the inspector generally writes up an attachment unless it is obviously grandfathered, that is why they have the policy of not grandfathering in any communication attachments. Most write ups are clearance issues not having to deal with the pole permit.

Scott Wheeler posed the question as to what date should be considered. The date of the original installation or the date of a replacement. Jim McGuire said generally the date of the original installation is what is used.

Gary Payne questioned the time frame of submitting a request to the IEEE. Corey Cook will ask one of the engineers at PacifiCorp to see if they have considered the request at IEEE. Gary Payne will contact John Wallace and ask him to follow up on the letter he sent.

Climbing Space: Gary Payne suggested that the OJUA may be able to influence the PUC to modify their stance on climbing space. Qwest thinks cleaning up boxing is a waste of money. Many power companies use a bucket except for apprentices. The code allows for bucket only poles. The PUC references “climbing past” they claim “climbing past” does not mean climbing over. It is being interpreted in the 2007 code that there are some exceptions to boxing the pole, in the past it was always wrong.

The Committee would like clarification from the IEEE.  Dave Marne has suggested that “climb past” is acceptable.  The code used to say that the longitudinal runs should be covered, but that language has been dropped.

Communications companies have difficulty changing the poles, not a big maintenance window and the system still cannot go completely down.

Gary Payne noted that Qwest is spending a lot of money fixing this problem, the pole will eventually be changed out and the problem can be fixed at that time. Their money could be spent for better purposes.

Committee will discuss climbing space after they hear back from IEEE, then write a letter on the position of OJUA.

Scott Wheeler asked what happens when an attachment is not covered and not stapled to a street light. PacifiCorp is of the opinion that it is the lowest point of distribution (40 inches); however, committee members are not in agreement.  The issue will require further discussion with the PUC. There must be a 12 inch separation between power and communications, if not put through a conduit and attached to pole.

New Business

Decorative Street lights: It was suggested that the OJUA send out a letter to all cities providing instruction on code. This should be added to the list of future issues.

Next Meeting

The next meeting will be held on Wednesday, January 19, 10:00 a.m. at the Salem office.

Adjourn

There being no further business, the meeting was adjourned at 11:43 a.m.